## Slide 1: Variation in Manual Differentials
By: Tatiana Kundrat

## Slide 2: INTRODUCTION
This project is aimed to show the variability between employees of CMMC on doing manual differentials in hematology.
The objective of this project is to show visual representation of clinically significant results for manual differentials.
The goal of this project is to educate employees and supervisors of discrepancies within the lab pertaining to manual differentials.

## Slide 3: BACKGROUND
“The ‘‘human factor’’ is one of the most important weaknesses of the performance quality of routine manual–visual differential leukocyte counts. Errors in leukocyte type misclassification, which occur randomly, despite being systematic in nature, contribute to the day-to-day imprecision of this measurement procedure.” (Fuentes-Arderiu, 2007, p. 644)
“Because disagreement on a cell's identification between evaluators is not uncommon, it is a struggle to maintain accuracy and improve the consistency of results.” (Viewmont Medical Labs, 2013. p.1)

## Slide 4: MATERIALS AND METHODS
5 SLIDES WERE USED FROM DIFFERENTIALS DONE AT CMMC
SLIDES WERE COLOR CODED (PURPLE, PINK, ORANGE, BLUE, AND GREEN)
4 SLIDES WERE USED THAT HAD BEEN SENT TO PATHOLOGY FOR REVIEW (PURPLE, PINK, ORANGE, AND GREEN)
1 SLIDE WAS USED THAT HAD NORMAL CELL DISTRIBUTION AS WELL AS MORPHOLOGY (BLUE)
5 EMPLOYEES WERE ASKED TO DO A MANUAL DIFFERENTIAL ON ALL SLIDES

## Slide 5: QUESTION
What is the most common inconsistency between Medical Lab Professionals preforming manual differentials at CMMC?
a) identification of immature white cells
b) identification of RBC abnormalities
c) identification of WBC abnormalities
d) grading of RBC morphology

## Slide 6: Purple Slide Results
Chart: PURPLE SLIDE CELL COUNTS
| TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
PMNS | 59 | 51 | 60 | 55 | 61
LYMPH | 16 | 31 | 19 | 18 | 11
MONO | 12 | 7 | 12 | 15 | 7
EOS | 4 | 9 | 1 | 1 | 6
BASO | 3 | 0 | 0 | 0 | 1
MYELO | 5 | 0 | 0 | 1 | 1
META | 1 | 0 | 5 | 4 | 2
BANDS | 0 | 2 | 3 | 6 | 6

## Slide 7: PURPLE SLIDE COMMENTS
TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
FEW GIANT PLT | PLT INCREASE 3+ | OCC. GIANT PLT | 1 GIANT PLT | ANISO 2+
MACRO/ANISO | 3+ STOMATO |  | 3+ STOMATO | MACRO 2+
 | VACULATION OF PMNS AND LYMPHS | TOXIC GRAN AND VACUOLES | TOXIC GRAN | TOXIC GRAN
 | MACRO/MICRO 1+ | 9 VARIANT LYMPHS | 70% VARIANT LYMPHS | 5 VARIANT LYMPHS

## Slide 8: PURPLE SLIDE DISCUSSION
PER PATHOLOGY REVIEW NOTABLE FEATURES WERE AS FOLLOWS
            IMMATURE GRANULOCYTES
            TOXIC GRANULATION
            STOMATOCYTOSIS
            LEUKOCYTOSIS
            MACROCYTIC
4 out of 5 identified immature granulocytes, 3 out of 5 identified toxic granulation, 2 out of 5 identified stomatocytosis, 3 out of 5 identified macrocytosis, none identified leukocytosis

## Slide 9: PINK SLIDE RESULTS
Chart: PINK SLIDE CELL COUNTS
| TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
PMNS | 14 | 6 | 12 | 14 | 0
LYMPH | 84 | 78 | 82 | 83 | 0
MONO | 2 | 7 | 3 | 1 | 0
EOS | 1 | 0 | 1 | 0 | 0
BASO | 0 | 0 | 2 | 1 | 0
MYELO | 0 | 3 | 0 | 0 | 0
META | 0 | 0 | 0 | 0 | 0
BANDS | 0 | 0 | 0 | 1 | 0

## Slide 10: PINK SLIDE COMMENTS
TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
ANISO | ROULEAUX 1+ | ANISO 2+ | ROULEAUX | ANISO 2+
OVALOCYTES | OVALOCYTES 1+ | SCHISTOCYTES SEEN | BASOPHILIC STIPPLING | MICRO 1+
SCHISTOCYTES | 1 GIANT PLATELET SEEN | ADEQUATE PLATELETS | 80% VARIANT LYMPHS | MACRO 1+
SMUDGE CELLS PRESENT | 6 SMUDGE CELLS | 26 SMUDGE CELLS SEEN | GIANT PLATELET SEEN | TOO MANY SMUDGE CELLS PRESENT, REMAKE WITH ALBUMIN FOR DIFFERENTIAL

## Slide 11: PINK SLIDE DISCUSSION
PER PATHOLOGY REVIEW NOTABLE FEATURES WERE AS FOLLOWS
            SEVERE ANISOPOIKIOCYTOSIS
            RARE ERYTHROBLASTS
            RARE NEUTROPENIA (IMMATURE MYELOID)
            LYMPHOCYTOSIS (IMMATURE/VARIANT)
            MACROCYTIC
            CLL
3 out of 5 identified anisocytosis, 2 out of 5 identified immature cells, 1 out of 5 identified variant lymphocytes, 1 out of 5 identified macrocytosis

## Slide 12: ORANGE SLIDE RESULTS
Chart: ORANGE SLIDE CELL COUNTS
| TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
PMNS | 22 | 25 | 13 | 10 | 28
LYMPH | 73 | 45 | 82 | 88 | 23
MONO | 5 | 6 | 5 | 0 | 6
EOS | 0 | 0 | 0 | 0 | 2
BASO | 0 | 1 | 0 | 1 | 1
MYELO | 0 | 0 | 0 | 0 | 9
META | 0 | 1 | 0 | 0 | 8
BANDS | 0 | 0 | 0 | 1 | 1

## Slide 13: ORANGE SLIDE COMMENTS
TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
ANISO 2+ PMN HYPER SEGMENTATION | TOXIC GRAN POLYCRHOM PRESENT | ANSIO 1+ | BASOPHILIC | BASOPHILIC
90% ATYPICAL LYMPHS | 27 ATYPICAL LYMPHS | IMMATURE LYMPHS | 99% VARIANT LYMPHS | 5 VARIANT LYMPHS
SHISTOCYTES 3 NRBC/100 WBCS | FEW SMUDGE CELLS 19 BLASTS | OCCASIONAL SMUDGE CELLS | BLASTS PRESENT ALL CELL LINES AFFECTED | 4 BLASTS
1+ MICRO 1+ MACRO | 1+ PLT DECREASE 1+ MICRO 1+ OVALOCYTES 1+ STOMATO | 2+ PLT DECREASE 3 NRBC/100 WBCS | 1 + MACRO 3+ PLT DECREASE 2 NRBC/100 WBCS | 13 PROS

## Slide 14: ORANGE SLIDE DISCUSSION
PER PATHOLOGY REVIEW NOTABLE FEATURES WERE AS FOLLOWS
            BLASTS
            MONOCYTIC
3 out of 5 identified blasts

## Slide 15: BLUE SLIDE RESULTS
Chart: BLUE SLIDE CELL COUNTS
| TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
PMNS | 62 | 58 | 63 | 60 | 60
LYMPH | 21 | 25 | 21 | 29 | 19
MONO | 11 | 12 | 12 | 4 | 11
EOS | 4 | 3 | 1 | 6 | 3
BASO | 1 | 1 | 2 | 0 | 0
MYELO | 0 | 0 | 0 | 0 | 0
META | 1 | 0 | 1 | 0 | 0
BANDS | 0 | 0 | 0 | 1 | 0

## Slide 16: BLUE SLIDE COMMENTS
TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
MICRO | 2+ MICRO | NORMAL RBC MORPH | NORMAL RBC MORPH | NORMAL RBC MORPH
 | 1 PRO | 9 VARIANT LYMPHS | 10% VARIANT LYMPHS | 7 VARIANT LYMPHS
DECREASED PLT | DECREASED PLT | ADEQUATE PLT OCCASIONAL GIANT | DECREASED PLT | 
 | 2+ SPHEROCYTES | TOXIC GRAN VACUOLES |  | 

## Slide 17: BLUE SLIDE DISCUSSION
CONTROL SLIDE
NORMAL RBC MORPHOLOGY
NORMAL CELL DISTRIBUTION

## Slide 18: GREEN SLIDE RESULTS
Chart: GREEN SLIDE CELL COUNTS
| TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
PMNS | 72 | 76 | 70 | 77 | 73
LYMPH | 11 | 9 | 14 | 6 | 13
MONO | 8 | 6 | 5 | 7 | 7
EOS | 6 | 8 | 8 | 8 | 6
BASO | 3 | 1 | 2 | 2 | 1
MYELO | 0 | 0 | 0 | 0 | 0
META | 0 | 0 | 0 | 0 | 0
BANDS | 0 | 0 | 1 | 0 | 0

## Slide 19: GREEN SLIDE COMMENTS
TEST 1 | TEST 2 | TEST 3 | TEST 4 | TEST 5
1+ HYPO | 2+ HYPO |  | 1+ HYPO | 2+ HYPO
1+ MACRO | 1+ MACRO 1+ MICRO |  | 2+ MACRO | 2+ MACRO
2+ ANISO | ROULEAUX PRESENT | 1+ ANISO | 2+ ANISO | 
PLTS ADEQUATE | NEUTROPHILIA EOSINOPHILIA PLTS ADEQUATE | AGRANULAR PMNS PLTS ADEQUATE | HYPER SEGMENTATION OF PMNS PLTS ADEQUATE | 

## Slide 20: GREEN SLIDE DISCUSSION
PER PATHOLOGY REVIEW NOTABLE FEATURES WERE AS FOLLOWS
            NORMOCYTIC/NORMOCHROMIC
            REACTIVE LYMPHS
1 out of 5 identified slide as normocytic/normochromic

## Slide 21: FINAL CONCLUSIONS
VARIATION WAS IDENTIFIED IN THE FOLLOWING CRITERIA
            IDENTIFICATION OF IMMATURE GRANULOCYTES
            (PURPLE, PINK AND ORANGE SLIDES)
            WHITE BLOOD CELL ABNORMALITIES
            (PURPLE, PINK AND GREEN SLIDES)
            RBC MORPHOLOGY
            (ALL SLIDES)

## Slide 22: QUESTION ANSWER
What is the most common inconsistency between Medical Lab Professionals preforming manual differentials?
a) identification of immature white cells
b) identification of RBC abnormalities
c) identification of WBC abnormalities
d) grading of RBC morphology

## Slide 23: FINAL THOUGHTS
Though the test group is small and cannot provide statistically significant data, it does show discrepancies pertaining to immature granulocyte counts, WBC abnormalities, and RBC morphology.
A possible solution to the discrepancies would be to have an educational seminar as well as a picture guided procedure for performing manual differentials.
Moldenhauer suggested that two separate employees perform and verify manual differentials, if they do not agree on findings, the slide is sent to pathology (2019, p. 5-6)

## Slide 24: REFERENCES
Fuentes-Arderiu, X., García-Panyella, M., & Dot-Bach, D. (2007). Between-examiner reproducibility in manual differential leukocyte counting. Accreditation and Quality Assurance, 12(12), 643–645. doi: 10.1007/s00769-007-0323-0
Moldenhauer, E. C. (2019, August 19). Gundersen Health System Standard Operating Procedure Differential: Counting and Morphology. Retrieved April 3, 2020, from https://www.gundersenhealth.org/app/files/public/6779/Lab-Policies-Differential-Counting- and-Morphology-Lab-5074.pdf
Slides provided by CMMC of Lewistown Montana.
WBC DIFFERENTIALS: AUTO OR MANUAL DOES IT REALLY MATTER? (2013). Viewmont Medical Labs, 3(7), 1–2. Retrieved from http://www.primemed.net/pdfs/Newsletters/August2013.pdf

## Slide 25: ANY QUESTIONS?
This Photo by Unknown Author is licensed under CC BY